Capstone Meeting Minute

**Date**: 3/3/2014

**Attendees**: Leslie, Ngan, Han, Chris, Nauvin, Jennifer

**Place**: OHSU Otolaryngology department

Walk through a test

* Calibration
  + “Calibration tone” – before each test series
  + Calibration of White noise done externally of tests (only when needed)
* Question on Babble if white noise constant during AZBio (since constant on CD)
  + Jennifer didn’t think it was important
* Epic storage of quick list short cut
  + Smart Phrase used for tables
* Test with Nauvin
  + Used calculator to count incorrect words in sentence
  + Showed us the white boards being used
  + Suggestion from Nauvin to use ‘hot keys’
* Patient record summary was discussed. Info in Smart Phrase most important
* Cord from computer to audiometer is standard audio jack
* User Interface screen shots from Han
* Jennifer to send e-mail with reports
* Keep the randomized order but store in list order
* Standardization “not going to happen”